Worried I don’t have enough Data

Dalec vs planet match ups (good data, without haze, shadow, cloud etc.)
Different markers indicate different cubesats.
There are 18 data points on these graphs, some from the same day ( usually images from the same day are from different sensors). There are 10 unique days where I have both a good planet image and good dalec data.

DALEC vs in-situ chl-a
The plot below shows DALEC chl-a matched against in-situ chl-a measurements. The points are coloured by the number of days between the chl-a measurement and DALEC measurement. Most points are those where I took a sample on the same day that the DALEC was running, but there are a few days either where there was an issue with the DALEC data, or where the nearest chl-a measurement was taken in the prior to or post deployment. The three points at the top left hand corner are all from 2022, and these are the only data points from this year. Removing these 3 points makes a graph with 9 data points with a strong, statistically significant fit.
SuperDoves vs In-situ Chl-a

The plot below shows the in-situ chl-a on the x axis and super doves chl-a on the y axis (using the same algorithm as was used for the DALEC data above. In total there are 21 match-ups. The number of days between a satellite measurement and corresponding in-situ measurement varies from 0 – 10, however the vast majority are 0 and 1 day gaps between in-situ and satellite images (orange and blue markers). Notably, there is no significant trend, and the gap between satellite and in-situ measurement does not seem to affect placement on the graph – unlike the dalec data, the year does not seem to have an effect.

IDEAS
- SO, I wonder if I “correct” the superdoves Rrs so that Rrs707/Rrs666 matches the DALEC ratio closely will the chl-a estimation improve? Worth a shot!
- and I could interpolate in-situ chl-a time series to daily values and then have loads of match ups??? - I LIKE THIS IDEA!
- also looking at the time series is quite interesting!