# DALEC / SD Update 8th Feb

- Have been investigating issues with the DALEC spectra from 2023

- See this typical 2023 DALEC spectra below:

- Issue is zero/negative reflectance in blues, and strange features in higher wavelengths

- Have confirmed this isn’t to do with the new calibration file they gave me after repairs

- Have tried Jiang Delta correction, Ruddick delta correction, and 3C Rrs calculation

  - Jiang and Ruddick both have the effect of reducing the reflectance, which has the issue of making some of the blues more negative

  - 3C Rrs calculation has a minor effect

- Interestingly, the DALEC data from 2022 is completely different (see example spectra below)

## Superdoves data from 2022 fits DALEC data better than 2023

- We only have 3 SD dalec match ups from 2022, but all of them look pretty close except for the last band

- In 2023, there is a lot more variation, and the blues and 707 nm bands don’t fit so well

## DALEC data from 2023 works well for Chl-a with NIR algorithm (707/666)

- Using interpolated in-situ chl-a we find that the DALEC chl-a correlates well

- But gradient is a bit shallow. This could be adjusted for

## Initial attempts at SDs chl-a didn’t work until I applied a further correction to the SDs data

- I fitted log-log curves to the 2023 match up data, and then used these to correct the SDs data at 666 and 707 nm to model more closely the DALEC data

## Log-log corrected SDs data can be used for chl-a estimation

## DALEC data from 2022 doesn’t give good chl-a estimates

- But, we probably don’t have sufficient match ups for this

## Applying the log-log correction to the 2022 DALEC data gives good chl-a estimates

- Dalec data matches well with superdoves, and a quite plausible peak in chl-a in mid august is captured (we don’t have any insitu data to confirm this, but it does make sense with the timeseries)00/00/0000 00:00:00

# What to do?

- Time is the limiting factor

  - Don’t really want to collect more data in the summer

  - The results I have show promise but there are issues with the data quality and quantity

  - Need to have a good explanation for the data issues with the DALEC in 2023

    - I’m not sure what else to try, and feels like this might end up being a long investigation